## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | K23_10_FIA_50X | 0.13104 | 0.0040661 | 0.0013102 | 0.0038492 | 103.081 | 0.0033067 | 0.00026194 | 0.003304 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13104 | 0.0040661 | 0.13424 | 0.0027279 | -0.044272 | 0.0030506 | SupCrit | 103.3212 | 0.003304 | 1285.5302 | 0.0030032 | 1362.5416 | 1285.5303 | 2153.7955 | 0.58606 | 5.3299 | 0.65386 | 1.1721 | Flagged Warnings: | 1388.8516 | 0.0013775 | 2432.163 | 1388.8515 | 3187.5054 | 0.50894 | 0 | 5.1842 | 0.53758 | 1.0179 | Flagged Warnings: | 1265.3854 | 232.2824 | 0.80144 | 1410.1628 | 310.0657 | 0.66058 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:25:32 PM | 51932 | 1150.7991 | 620.8104 | 401.4957 | Spline | [5 empty] | 0.11623 | 51932 | 0.99767 | 0.99767 | 0.99768
1 | K23_1_FIA_50X | 0.14474 | 0.0039711 | 0.00082686 | 0.003884 | 103.1155 | 0.0020868 | 0.00025894 | 0.0020755 | 12.185 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14474 | 0.0039711 | 0.14815 | 0.0025235 | -0.01942 | 0.002405 | SupCrit | 103.3567 | 0.0020755 | 1285.4837 | 0.0018191 | 1291.0984 | 1285.4838 | 2046.8977 | 0.59129 | 3.3296 | 0.63929 | 1.1826 | Flagged Warnings: | 1388.8405 | 0.00099935 | 2241.2712 | 1388.8405 | 2983.5837 | 0.51054 | 0 | 3.7209 | 0.5695 | 1.0211 | Flagged Warnings: | 1265.307 | 214.7415 | 0.80525 | 1410.2061 | 331.8762 | 0.66941 | [9 empty] | September 20, 2023 | September | 20 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 2:33:31 PM | 52411 | [10 empty] | 52411 | 0.99767 | 0.99766 | 0.99767
2 | K23_1_FIA_50X_r2_longeraq | 0.1411 | 0.0039297 | 0.00066031 | 0.0038739 | 103.1063 | 0.0016664 | 0.00025783 | 0.0016502 | 12.237 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1411 | 0.0039297 | 0.14444 | 0.0024731 | -0.02601 | 0.0022354 | SupCrit | 103.3478 | 0.0016502 | 1285.4947 | 0.0014175 | 1852.3761 | 1285.4947 | 2949.3313 | 0.59354 | 3.8968 | 0.64049 | 1.1871 | Flagged Warnings: | 1388.8426 | 0.00084501 | 3279.0666 | 1388.8426 | 4389.5853 | 0.51331 | 0 | 4.9475 | 0.56995 | 1.0266 | Flagged Warnings: | 1265.2474 | 327.2164 | 0.83537 | 1410.207 | 484.9382 | 0.71333 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:36:33 PM | 52593 | [10 empty] | 52593 | 0.99766 | 0.99766 | 0.99767
3 | K23_2_FIA_50X | 0.0041064 | 0 | 0 | 0 | 102.7606 | 0.032383 | 0.00025221 | 0.032459 | 11.964 | 1325.004 | 0 | 0 | N | Below lower calibration limit |  |  | 0.0041064 | 0.013434 | 0.0074671 | 0.012903 | -0.28662 | 0.025686 | SupCrit | 103.0029 | 0.032459 | 1286.3596 | 0.029483 | 46.3217 | 1286.3596 | 45.9811 | 0.46658 | 1.8421 | 2.3816e-08 | 0.93315 | Flagged Warnings: | 1389.3624 | 0.013576 | 77.169 | 1389.3624 | 66.4241 | 0.37327 | 0 | 1.8358 | 0.24412 | 0.74653 | Flagged Warnings: | [15 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:52:03 PM | 53523 | 1151.684 | 47.7689 | 25.9282 | Spline | [5 empty] | 0.42497 | 53523 | 0.99765 | 0.99765 | 0.99765
4 | K23_2_FIB_50X | 0.063799 | 0.004039 | 0.0013245 | 0.0038156 | 102.9113 | 0.0033427 | 0.00025138 | 0.0033411 | 11.935 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.063799 | 0.004039 | 0.066684 | 0.0027445 | -0.16992 | 0.0032022 | SupCrit | 103.1543 | 0.0033411 | 1285.9911 | 0.0029025 | 628.3652 | 1285.9912 | 763.8179 | 0.48421 | 2.7274 | 0.47154 | 0.96841 | Flagged Warnings: | 1389.1455 | 0.0016547 | 1028.4655 | 1389.1455 | 1151.6044 | 0.45694 | 0 | 2.1434 | 0.40719 | 0.91388 | Flagged Warnings: | 1265.6993 | 71.8854 | 0.50312 | 1410.47 | 121.667 | 0.46986 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:56:49 PM | 53809 | 1151.1825 | 199.6492 | 121.9863 | Spline | [5 empty] | 0.10423 | 53809 | 0.99764 | 0.99764 | 0.99765
5 | K23_2_FIC_50X | 0.070903 | 0.0042035 | 0.0017796 | 0.0038082 | 102.9292 | 0.0044911 | 0.00024948 | 0.0044948 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.070903 | 0.0042035 | 0.073773 | 0.0029889 | -0.15635 | 0.0039101 | SupCrit | 103.1731 | 0.0044948 | 1285.956 | 0.0038482 | 411.9369 | 1285.9561 | 525.3794 | 0.50419 | 2.3086 | 0.49142 | 1.0084 | Flagged Warnings: | 1389.1292 | 0.0023226 | 679.339 | 1389.1292 | 775.5403 | 0.46409 | 0 | 2.0535 | 0.41748 | 0.92818 | Flagged Warnings: | 1265.6447 | 44.8277 | 0.66361 | 1410.4938 | 82.5284 | 0.43891 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:06:03 PM | 54363 | [10 empty] | 54363 | 0.99764 | 0.99763 | 0.99764
6 | K23_4_FIA_50X | 0.036928 | 0.0040566 | 0.0012268 | 0.0038667 | 102.8435 | 0.003096 | 0.00024729 | 0.0030935 | 12.061 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.036928 | 0.0040566 | 0.039954 | 0.0027057 | -0.22185 | 0.0031061 | SupCrit | 103.0883 | 0.0030935 | 1286.1644 | 0 | 234.8699 | 1286.1644 | 267.1354 | 0.4712 | 1.9596 | 0.36609 | 0.94241 | Flagged Warnings: | 1389.2528 | 0.0030935 | 404.4096 | 1389.2527 | 418.6721 | 0.42911 | 0 | 1.6673 | 0.36483 | 0.85822 | Flagged Warnings: | 1265.8135 | 14.7361 | 0.5223 | 1410.5445 | 49.0975 | 0.35909 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:19:58 PM | 55198 | [10 empty] | 55198 | 0.99762 | 0.99762 | 0.99763
7 | K23_4_FIB_50X | 0.1272 | 0.0043963 | 0.0021386 | 0.0038411 | 103.0713 | 0.0053973 | 0.0002474 | 0.0054045 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1272 | 0.0043963 | 0.13036 | 0.0032201 | -0.051275 | 0.0043473 | SupCrit | 103.3171 | 0.0054045 | 1285.6135 | 0.0048536 | 323.7635 | 1285.6136 | 491.8218 | 0.5834 | 1.8374 | 0.56594 | 1.1668 | Flagged Warnings: | 1388.9307 | 0.0023773 | 558.8992 | 1388.9307 | 732.1903 | 0.51313 | 0 | 1.6164 | 0.51549 | 1.0263 | Flagged Warnings: | 1265.3224 | 51.1449 | 0.76812 | 1410.3456 | 79.5931 | 0.68969 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:25:10 PM | 55510 | [10 empty] | 55510 | 0.99762 | 0.99762 | 0.99762
8 | K23_6_FIA_50X | 0.13203 | 0.0038946 | 0.00057839 | 0.0038514 | 103.0835 | 0.0014597 | 0.00024703 | 0.0014421 | 12.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13203 | 0.0038946 | 0.13525 | 0.002454 | -0.042461 | 0.0021699 | SupCrit | 103.3303 | 0.0014421 | 1285.569 | 0.0011717 | 1942.7346 | 1285.569 | 3023.3396 | 0.59346 | 3.1824 | 0.58398 | 1.1869 | Flagged Warnings: | 1388.8993 | 0.00084071 | 3418.7348 | 1388.8993 | 4596.2455 | 0.51398 | 0 | 4.5327 | 0.57752 | 1.028 | Flagged Warnings: | 1265.3224 | 334.9165 | 0.84483 | 1410.2598 | 509.6529 | 0.72783 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:38:01 PM | 56281 | 1150.9171 | 77.5818 | 49.6847 | Spline | [5 empty] | 0.010182 | 56281 | 0.99761 | 0.99761 | 0.99761
9 | K23_7_FIA_50X | 0.11811 | 0.0038945 | 0.00073358 | 0.0038248 | 103.0483 | 0.0018514 | 0.00024739 | 0.0018392 | 11.964 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11811 | 0.0038945 | 0.12117 | 0.0024994 | -0.06795 | 0.0023379 | SupCrit | 103.2958 | 0.0018392 | 1285.6087 | 0.0015934 | 1678.9091 | 1285.6088 | 2696.2737 | 0.60186 | 3.918 | 0.62742 | 1.2037 | Flagged Warnings: | 1388.9046 | 0.00091844 | 2949.6096 | 1388.9045 | 4002.8532 | 0.5217 | 0 | 4.219 | 0.56344 | 1.0434 | Flagged Warnings: | 1265.3376 | 309.5186 | 0.78871 | 1410.2372 | 433.3314 | 0.70604 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:48:44 PM | 56924 | 1150.7696 | 1346.3471 | 847.692 | Spline | [5 empty] | 0.20097 | 56924 | 0.9976 | 0.9976 | 0.99761
10 | K23_7_FIB_50X | 0.11566 | 0.0040045 | 0.0011978 | 0.0038211 | 103.0422 | 0.003023 | 0.00024815 | 0.00302 | 11.93 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11566 | 0.0040045 | 0.11869 | 0.0026763 | -0.072464 | 0.0029203 | SupCrit | 103.2901 | 0.00302 | 1285.638 | 0.0026789 | 620.4286 | 1285.638 | 962.6648 | 0.59207 | 2.4416 | 0.58239 | 1.1841 | Flagged Warnings: | 1388.9281 | 0.0013943 | 1087.3088 | 1388.9281 | 1457.9228 | 0.51718 | 0 | 2.3551 | 0.555 | 1.0344 | Flagged Warnings: | 1265.4145 | 113.0109 | 0.77979 | 1410.2619 | 172.2313 | 0.69095 | [9 empty] | September 20, 2023 | September | 20 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 3:56:46 PM | 57406 | 1150.8286 | 382.0138 | 238.2441 | Spline | [5 empty] | 0.15782 | 57406 | 0.9976 | 0.9976 | 0.9976
11 | K23_7_FIC_50X | 0.11289 | 0.0040626 | 0.00139 | 0.0038174 | 103.0352 | 0.003508 | 0.00024917 | 0.0035076 | 11.904 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11289 | 0.0040626 | 0.1159 | 0.0027696 | -0.077579 | 0.0032024 | SupCrit | 103.2835 | 0.0035076 | 1285.6373 | 0.0030988 | 469.1988 | 1285.6373 | 726.0338 | 0.59911 | 1.8461 | 0.54529 | 1.1982 | Flagged Warnings: | 1388.9209 | 0.0016434 | 818.9546 | 1388.9208 | 1108.0061 | 0.5153 | 0 | 2.1712 | 0.58695 | 1.0306 | Flagged Warnings: | 1265.3515 | 67.7474 | 0.61738 | 1410.2636 | 125.9739 | 0.59694 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:03:58 PM | 57838 | 1150.7696 | 362.9934 | 220.9849 | Spline | [5 empty] | 0.19792 | 57838 | 0.9976 | 0.99759 | 0.9976
12 | K23_9_FIA_50X | 0.083276 | 0.0047461 | 0.0028415 | 0.0038015 | 102.9604 | 0.0071711 | 0.0002514 | 0.007184 | 11.867 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.083276 | 0.0047461 | 0.086146 | 0.0037213 | -0.13289 | 0.0057039 | SupCrit | 103.2092 | 0.007184 | 1285.904 | 0.0062177 | 328.3842 | 1285.904 | 436.5357 | 0.54827 | 2.7045 | 0.37831 | 1.0965 | Flagged Warnings: | 1389.1132 | 0.0035986 | 559.2131 | 1389.1132 | 675.7271 | 0.48867 | 0 | 2.5745 | 0.43151 | 0.97734 | Flagged Warnings: | 1265.6839 | 48.0677 | 0.69176 | 1410.5063 | 111.6444 | 0.46336 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:16:03 PM | 58563 | [10 empty] | 58563 | 0.99759 | 0.99759 | 0.99759
13 | K23_101_FID_50X | 0.10014 | 0.0050373 | 0.003301 | 0.003805 | 103.003 | 0.0083309 | 0.00026413 | 0.0083469 | 11.85 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10014 | 0.0050373 | 0.10306 | 0.0040908 | -0.10125 | 0.0064499 | SupCrit | 103.2532 | 0.0083469 | 1285.8193 | 0.007133 | 660.3008 | 1285.8193 | 903.4373 | 0.57268 | 6.2053 | 0.33801 | 1.1454 | Flagged Warnings: | 1389.0726 | 0.0043349 | 1087.4393 | 1389.0725 | 1340.5603 | 0.49986 | 0 | 6.2716 | 0.42438 | 0.99973 | Flagged Warnings: | 1265.4615 | 83.1607 | 0.48872 | 1410.4536 | 147.7441 | 0.63126 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:53:25 PM | 60805 | 1151.0056 | 89.8165 | 62.8789 | Spline | [5 empty] | 0.040025 | 60805 | 0.99758 | 0.99757 | 0.99758
14 | K23_101_FIC_50X | 0.085665 | 0.0077361 | 0.0067378 | 0.0038011 | 102.9665 | 0.017004 | 0.00026618 | 0.017044 | 11.847 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.085665 | 0.0077361 | 0.088538 | 0.0071632 | -0.12839 | 0.012845 | SupCrit | 103.2167 | 0.017044 | 1285.8944 | 0.01413 | 394.1294 | 1285.8944 | 521.8315 | 0.57402 | 7.895 | 0.23911 | 1.148 | Flagged Warnings: | 1389.1112 | 0.0095305 | 639.0114 | 1389.1112 | 738.5942 | 0.48704 | 0 | 7.8967 | 0.31932 | 0.97407 | Flagged Warnings: | 1265.8507 | 71.3102 | 0.44454 | 1410.4482 | 71.6198 | 0.49685 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:58:12 PM | 61092 | 1146.0795 | -8.9875 | 17.2266 | Spline | 1097.1771 | 12.8013 | 24.952 | Spline | 0.010156 | -0.0071305 | 61092 | 0.99758 | 0.99757 | 0.99758
15 | K23_102_FIA | 0.11245 | 0.0044823 | 0.0023501 | 0.0038168 | 103.0341 | 0.0059311 | 0.00027292 | 0.0059392 | 11.854 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11245 | 0.0044823 | 0.11546 | 0.0033646 | -0.078387 | 0.0047462 | SupCrit | 103.2848 | 0.0059392 | 1285.6921 | 0.0053657 | 475.4546 | 1285.6921 | 782.4901 | 0.67059 | 3.4309 | 0.41138 | 1.3412 | Flagged Warnings: | 1388.9769 | 0.0025463 | 872.4458 | 1388.9769 | 1183.4644 | 0.5249 | 0 | 3.1935 | 0.54686 | 1.0498 | Flagged Warnings: | 1265.5187 | 106.9676 | 0.83768 | 1410.3918 | 185.5498 | 0.63079 | [9 empty] | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:11:34 PM | 61894 | [10 empty] | 61894 | 0.99757 | 0.99757 | 0.99758