## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | KS23_103_FIC | 0.11437 | 0.0040129 | 0.0012314 | 0.0038193 | 103.0389 | 0.0031077 | 0.00084992 | 0.0029962 | 12.203 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11437 | 0.0040129 | 0.11739 | 0.002692 | -0.07484 | 0.0029698 | SupCrit | 103.2794 | 0.0029962 | 1285.5552 | 0.0027422 | 668.5482 | 1285.5553 | 1007.0837 | 0.56773 | 2.1157 | 0.6134 | 1.1355 | Flagged Warnings: | 1388.8347 | 0.0012072 | 1157.0433 | 1388.8347 | 1474.658 | 0.48612 | 0 | 1.953 | 0.5833 | 0.97224 | Flagged Warnings: | 1265.2745 | 123.8433 | 0.74565 | 1410.1773 | 161.0059 | 0.64832 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 9:30:49 AM | 34249 | 1150.7696 | 319.4822 | 207.3306 | Spline | 0.12873 | 34249 | 0.99767 | 0.99766 | 0.99768
1 | KS23_103_FID_Rep1 | 0.12749 | 0.004106 | 0.0014494 | 0.0038416 | 103.072 | 0.0036579 | 0.00083878 | 0.0035688 | 20.104 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12749 | 0.004106 | 0.13065 | 0.0027994 | -0.050749 | 0.0032604 | SupCrit | 103.3151 | 0.0035688 | 1285.5549 | 0.0032051 | 563.8815 | 1285.555 | 875.5452 | 0.60423 | 2.3687 | 0.53239 | 1.2085 | Flagged Warnings: | 1388.8701 | 0.0015696 | 1034.9084 | 1388.87 | 1328.8139 | 0.4977 | 0 | 2.5591 | 0.54238 | 0.99541 | Flagged Warnings: | 1265.2499 | 97.4149 | 0.69683 | 1410.1736 | 154.5913 | 0.64363 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '2s'] | 10:09:11 AM | 36551 | [5 empty] | 36551 | 0.99765 | 0.99764 | 0.99766
2 | KS23_103_FID_Rep2 | 0.1252 | 0.0040681 | 0.0013512 | 0.0038371 | 103.0662 | 0.00341 | 0.00083736 | 0.0033134 | 20.182 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1252 | 0.0040681 | 0.12833 | 0.0027488 | -0.054939 | 0.0031209 | SupCrit | 103.3096 | 0.0033134 | 1285.563 | 0.0030164 | 683.3116 | 1285.5631 | 1010.4922 | 0.57008 | 2.6967 | 0.55644 | 1.1402 | Flagged Warnings: | 1388.8727 | 0.0013712 | 1195.301 | 1388.8727 | 1525.7201 | 0.48742 | 0 | 2.9494 | 0.58038 | 0.97485 | Flagged Warnings: | 1265.2753 | 99.1203 | 0.65123 | 1410.2212 | 168.276 | 0.67348 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 10:14:12 AM | 36852 | [5 empty] | 36852 | 0.99764 | 0.99764 | 0.99765
3 | KS23_104_FIB | 0.12619 | 0.0046095 | 0.0025514 | 0.003839 | 103.0687 | 0.006439 | 0.00083221 | 0.0064002 | 12.043 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12619 | 0.0046095 | 0.12933 | 0.0035142 | -0.053134 | 0.0050403 | SupCrit | 103.3133 | 0.0064002 | 1285.5655 | 0.0057457 | 387.6822 | 1285.5656 | 590.8196 | 0.57988 | 2.6001 | 0.58957 | 1.1598 | Flagged Warnings: | 1388.8789 | 0.0028194 | 678.396 | 1388.8789 | 874.1508 | 0.49523 | 0 | 2.8348 | 0.56408 | 0.99047 | Flagged Warnings: | 1265.3959 | 76.0401 | 0.87067 | 1410.1204 | 93.5824 | 0.68537 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 10:34:14 AM | 38054 | [5 empty] | 38054 | 0.99763 | 0.99762 | 0.99764
4 | KS23_104_FIA_Rep1 | 0.15094 | 0.0085247 | 0.0075788 | 0.0039028 | 103.1312 | 0.019127 | 0.00083137 | 0.019154 | 12.037 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15094 | 0.0085247 | 0.15445 | 0.0080781 | -0.0082654 | 0.01374 | SupCrit | 103.3762 | 0.019154 | 1285.4749 | 0.017676 | 90.2995 | 1285.4749 | 148.8122 | 0.62333 | 1.9593 | 0.6107 | 1.2467 | Flagged Warnings: | 1388.8511 | 0.0073778 | 166.808 | 1388.8511 | 227.0588 | 0.51336 | 0 | 2.0369 | 0.6115 | 1.0267 | Flagged Warnings: |  |  |  | 1410.3812 | 17.8435 | 0.76931 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:39:44 AM | 38384 | [5 empty] | 38384 | 0.99763 | 0.99762 | 0.99764
5 | KS23_104_FIA_Rep2 | 0.14015 | 0.0060786 | 0.0046864 | 0.0038713 | 103.104 | 0.011827 | 0.00082944 | 0.011826 | 14.907 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14015 | 0.0060786 | 0.14348 | 0.0053214 | -0.027719 | 0.0086926 | SupCrit | 103.3493 | 0.011826 | 1285.4851 | 0.010807 | 177.462 | 1285.4852 | 273.5797 | 0.60405 | 2.4668 | 0.51486 | 1.2081 | Flagged Warnings: | 1388.8345 | 0.0048036 | 316.5546 | 1388.8345 | 429.6747 | 0.54238 | 0 | 2.1004 | 0.46337 | 1.0848 | Flagged Warnings: | 1265.5268 | 42.2966 | 0.84661 | 1410.2477 | 48.0317 | 0.61606 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:47:00 AM | 38820 | [5 empty] | 38820 | 0.99763 | 0.99762 | 0.99763
6 | KS23_303_FIA | 0.11425 | 0.0044085 | 0.002202 | 0.0038192 | 103.0386 | 0.0055573 | 0.00082012 | 0.0055096 | 12.005 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11425 | 0.0044085 | 0.11727 | 0.0032614 | -0.075064 | 0.0044915 | SupCrit | 103.286 | 0.0055096 | 1285.6549 | 0.0048935 | 325.6754 | 1285.6549 | 474.8641 | 0.58614 | 2.1375 | 0.44741 | 1.1723 | Flagged Warnings: | 1388.941 | 0.0025317 | 556.8377 | 1388.9409 | 712.2803 | 0.49147 | 0 | 1.8771 | 0.56482 | 0.98295 | Flagged Warnings: | 1265.4661 | 49.7339 | 0.90274 | 1410.336 | 82.491 | 0.61831 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 11:29:43 AM | 41383 | [5 empty] | 41383 | 0.9976 | 0.9976 | 0.99761
7 | KS23_303_FIB | 0.10781 | 0.0040937 | 0.0014936 | 0.0038114 | 103.0223 | 0.0037696 | 0.00081744 | 0.0036887 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10781 | 0.0040937 | 0.11078 | 0.0028242 | -0.086977 | 0.0033688 | SupCrit | 103.2704 | 0.0036887 | 1285.7159 | 0.0031923 | 558.9424 | 1285.7159 | 785.9315 | 0.5393 | 2.1061 | 0.56933 | 1.0786 | Flagged Warnings: | 1388.9864 | 0.0018483 | 908.087 | 1388.9863 | 1132.1531 | 0.49732 | 0 | 2.4347 | 0.46792 | 0.99463 | Flagged Warnings: | 1265.4612 | 72.3301 | 0.68403 | 1410.3187 | 133.2447 | 0.64828 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:44:40 AM | 42280 | [5 empty] | 42280 | 0.9976 | 0.99759 | 0.99761
8 | KS23_201_FIC_50X | 0.13433 | 0.0039611 | 0.00090337 | 0.0038567 | 103.0893 | 0.0022799 | 0.00081432 | 0.0021346 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13433 | 0.0039611 | 0.13758 | 0.0025523 | -0.038277 | 0.0025079 | SupCrit | 103.3386 | 0.0021346 | 1285.5051 | 0.0018442 | 1389.1499 | 1285.5051 | 2313.225 | 0.62292 | 3.8288 | 0.63195 | 1.2458 | Flagged Warnings: | 1388.8438 | 0.0010749 | 2499.9023 | 1388.8437 | 3494.3156 | 0.53586 | 0 | 3.9632 | 0.57052 | 1.0717 | Flagged Warnings: | 1265.2393 | 244.5478 | 0.86347 | 1410.1952 | 383.5453 | 0.65792 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:09:47 PM | 43787 | 1150.7696 | 911.8005 | 597.8409 | Spline | 0.157 | 43787 | 0.99759 | 0.99758 | 0.99759
9 | KS23_201_FID_50X | 0.12734 | 0.0045176 | 0.0023776 | 0.0038413 | 103.0716 | 0.0060005 | 0.00081354 | 0.0059595 | 12.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12734 | 0.0045176 | 0.13049 | 0.0033874 | -0.051027 | 0.0047436 | SupCrit | 103.3211 | 0.0059595 | 1285.5493 | 0.0053672 | 315.6274 | 1285.5493 | 493.423 | 0.59785 | 2.0326 | 0.57679 | 1.1957 | Flagged Warnings: | 1388.8705 | 0.00259 | 562.6077 | 1388.8705 | 759.29 | 0.52678 | 0 | 2.204 | 0.52457 | 1.0536 | Flagged Warnings: | 1265.381 | 51.527 | 0.73366 | 1410.232 | 91.9524 | 0.74987 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:14:50 PM | 44090 | 1150.7991 | 89.9217 | 59.5226 | Spline | 0.071782 | 44090 | 0.99759 | 0.99758 | 0.99759
10 | KS23_201_FIA_50X | 0.13239 | 0.0040187 | 0.0011448 | 0.0038522 | 103.0844 | 0.0028892 | 0.00081289 | 0.0027792 | 12.005 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13239 | 0.0040187 | 0.13561 | 0.0026503 | -0.041815 | 0.0028184 | SupCrit | 103.3342 | 0.0027792 | 1285.4745 | 0.0025155 | 991.1159 | 1285.4745 | 1646.3443 | 0.61063 | 3.9235 | 0.67465 | 1.2213 | Flagged Warnings: | 1388.8087 | 0.0011818 | 1782.1761 | 1388.8087 | 2507.3451 | 0.53398 | 0 | 3.2123 | 0.59577 | 1.068 | Flagged Warnings: | 1265.2017 | 167.3118 | 0.73537 | 1410.1241 | 275.8323 | 0.72275 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:21:02 PM | 44462 | 1150.7106 | 838.3637 | 533.1672 | Spline | 0.20184 | 44462 | 0.99758 | 0.99757 | 0.99759
11 | KS23_301_FIA_50X | 0.1326 | 0.0042004 | 0.0016734 | 0.0038527 | 103.0849 | 0.0042232 | 0.00081187 | 0.0041545 | 12.003 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1326 | 0.0042004 | 0.13582 | 0.0029247 | -0.041426 | 0.0035888 | SupCrit | 103.3351 | 0.0041545 | 1285.4797 | 0.0037679 | 602.0876 | 1285.4798 | 1025.0868 | 0.6337 | 3.1995 | 0.64432 | 1.2674 | Flagged Warnings: | 1388.8149 | 0.00175 | 1053.3709 | 1388.8149 | 1500.6564 | 0.55198 | 0 | 2.7938 | 0.54346 | 1.104 | Flagged Warnings: | 1265.2458 | 109.5204 | 0.77446 | 1410.1186 | 157.1094 | 0.66912 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:30:25 PM | 45025 | 1150.7401 | 527.9115 | 332.0848 | Spline | 0.20901 | 45025 | 0.99758 | 0.99757 | 0.99759
12 | KS23_9_FIA_50X | 0.11491 | 0.023538 | 0.023226 | 0.0038201 | 103.0403 | 0.058616 | 0.0008089 | 0.058753 | 11.994 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11491 | 0.023538 | 0.11794 | 0.023553 | -0.073846 | 0.042891 | SupCrit | 103.2914 | 0.058753 | 1285.6456 | 0.058544 | 240.8073 | 1285.6457 | 377.3544 | 0.57556 | 2.8841 | 0.67676 | 1.1511 | Flagged Warnings: | 1388.9371 | 0.0049525 | 412.7998 | 1388.9371 | 527.6611 | 0.52348 | 0 | 2.6444 | 0.39757 | 1.047 | Flagged Warnings: | 1265.2432 | 49.595 | 0.76304 | 1410.2198 | 51.4338 | 0.58508 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:01:32 PM | 46892 | [5 empty] | 46892 | 0.99757 | 0.99756 | 0.99758
13 | KS23_107_FIA_50X | 0.13022 | 0.0052748 | 0.0036086 | 0.0038474 | 103.0789 | 0.009107 | 0.0008082 | 0.0090932 | 11.994 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13022 | 0.0052748 | 0.13341 | 0.0043632 | -0.045766 | 0.0068503 | SupCrit | 103.3307 | 0.0090932 | 1285.551 | 0.0082395 | 304.65 | 1285.5511 | 493.2132 | 0.60031 | 3.2455 | 0.65345 | 1.2006 | Flagged Warnings: | 1388.8819 | 0.0038468 | 536.97 | 1388.8818 | 708.5248 | 0.53312 | 0 | 2.7413 | 0.43391 | 1.0662 | Flagged Warnings: | 1265.1665 | 42.3798 | 0.69387 | 1410.1067 | 73.256 | 0.69511 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:20:45 PM | 48045 | 1150.7991 | 128.7806 | 82.8303 | Spline | 0.10716 | 48045 | 0.99756 | 0.99755 | 0.99757
14 | KS23_107_FIB_50X | 0.10812 | 0.0044425 | 0.0022816 | 0.0038118 | 103.0231 | 0.0057582 | 0.0008075 | 0.0057153 | 19.946 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10812 | 0.0044425 | 0.11109 | 0.0033156 | -0.086405 | 0.0046444 | SupCrit | 103.2751 | 0.0057153 | 1285.6788 | 0.0049735 | 561.4239 | 1285.6788 | 814.3636 | 0.55803 | 3.7623 | 0.56162 | 1.1161 | Flagged Warnings: | 1388.9539 | 0.0028158 | 918.7567 | 1388.9539 | 1171.3999 | 0.50873 | 0 | 3.6147 | 0.46724 | 1.0175 | Flagged Warnings: | 1265.4131 | 84.7676 | 0.83325 | 1410.2444 | 169.4636 | 0.63992 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:28:31 PM | 48511 | 1150.8286 | 11.706 | 13.1362 | Spline | 0.005895 | 48511 | 0.99756 | 0.99755 | 0.99757
15 | KS23_107_FIC_50X | 0.048743 | 0.0040971 | 0.001429 | 0.0038398 | 102.8733 | 0.0036064 | 0.00080613 | 0.0035237 | 19.978 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.048743 | 0.0040971 | 0.051691 | 0.0027991 | -0.1989 | 0.0033944 | SupCrit | 103.125 | 0.0035237 | 1286.0854 | 0.003104 | 699.9456 | 1286.0854 | 831.3656 | 0.49304 | 3.3325 | 0.36078 | 0.98607 | Flagged Warnings: | 1389.2105 | 0.0016679 | 1150.7219 | 1389.2105 | 1266.1107 | 0.45269 | 0 | 2.663 | 0.38507 | 0.90537 | Flagged Warnings: | 1265.7339 | 65.3605 | 0.50524 | 1410.5047 | 146.8943 | 0.45018 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:36:26 PM | 48986 | 1151.212 | 545.5855 | 304.644 | Spline | 0.26012 | 48986 | 0.99756 | 0.99755 | 0.99757
16 | KS23_108_FIA_50X_rep1 | 0.10036 | 0.0039409 | 0.0010254 | 0.0038051 | 103.0035 | 0.0025878 | 0.00080701 | 0.0024648 | 19.973 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10036 | 0.0039409 | 0.10329 | 0.0026054 | -0.10083 | 0.0027123 | SupCrit | 103.256 | 0.0024648 | 1285.7681 | 0.0021232 | 1495.3151 | 1285.7682 | 2121.7523 | 0.5633 | 5.2788 | 0.48058 | 1.1266 | Flagged Warnings: | 1389.0242 | 0.0012518 | 2486.2178 | 1389.0242 | 3114.0395 | 0.49847 | 0 | 4.4865 | 0.47399 | 0.99694 | Flagged Warnings: | 1265.4838 | 214.9004 | 0.71332 | 1410.3689 | 347.305 | 0.60025 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:50:26 PM | 49826 | [5 empty] | 49826 | 0.99756 | 0.99755 | 0.99756
17 | KS23_108_FIA_50X_rep2 | 0.10298 | 0.0039437 | 0.0010292 | 0.003807 | 103.0101 | 0.0025975 | 0.00080707 | 0.002475 | 12.04 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10298 | 0.0039437 | 0.10592 | 0.0026064 | -0.095957 | 0.0027131 | SupCrit | 103.2627 | 0.002475 | 1285.7631 | 0.0021148 | 1201.0914 | 1285.7631 | 1710.9658 | 0.55096 | 3.3608 | 0.54804 | 1.1019 | Flagged Warnings: | 1389.0259 | 0.0012858 | 2018.9444 | 1389.0258 | 2541.0143 | 0.49762 | 0 | 3.4763 | 0.49112 | 0.99523 | Flagged Warnings: | 1265.4454 | 178.6357 | 0.71163 | 1410.3828 | 269.0244 | 0.64389 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:55:02 PM | 50102 | [5 empty] | 50102 | 0.99755 | 0.99755 | 0.99756
18 | KS23_108_FIB_50X | 0.11897 | 0.005301 | 0.0036689 | 0.0038262 | 103.0505 | 0.0092593 | 0.00080755 | 0.0092467 | 20.008 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11897 | 0.005301 | 0.12203 | 0.0044072 | -0.066373 | 0.0070128 | SupCrit | 103.3035 | 0.0092467 | 1285.6852 | 0.0082781 | 235.9927 | 1285.6852 | 344.3248 | 0.56435 | 2.3284 | 0.54771 | 1.1287 | Flagged Warnings: | 1388.9888 | 0.00412 | 406.1185 | 1388.9887 | 517.0058 | 0.49856 | 0 | 2.5325 | 0.51593 | 0.99711 | Flagged Warnings: | 1265.3568 | 27.8717 | 0.91897 | 1410.311 | 56.1313 | 0.76126 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:08:04 PM | 50884 | [5 empty] | 50884 | 0.99755 | 0.99754 | 0.99756
19 | KS23_108_FIC_100X | 0.10696 | 0.0042281 | 0.0018321 | 0.0038106 | 103.0202 | 0.0046236 | 0.00080745 | 0.0045638 | 20.011 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10696 | 0.0042281 | 0.10992 | 0.0030195 | -0.088567 | 0.0039034 | SupCrit | 103.2732 | 0.0045638 | 1285.7251 | 0.0040977 | 416.6643 | 1285.7251 | 583.2564 | 0.53522 | 2.1781 | 0.57718 | 1.0704 | Flagged Warnings: | 1388.9984 | 0.0020091 | 675.5805 | 1388.9983 | 859.0258 | 0.50431 | 0 | 1.8876 | 0.48298 | 1.0086 | Flagged Warnings: | 1265.4898 | 59.9436 | 0.49838 | 1410.3605 | 102.0816 | 0.56259 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:13:39 PM | 51219 | [5 empty] | 51219 | 0.99755 | 0.99754 | 0.99756
20 | KS23_108_FID_100X_rep1 | 0.12087 | 0.0067513 | 0.0055602 | 0.0038293 | 103.0553 | 0.014032 | 0.00080796 | 0.014044 | 12.033 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12087 | 0.0067513 | 0.12395 | 0.0061033 | -0.062876 | 0.010389 | SupCrit | 103.3085 | 0.014044 | 1285.6171 | 0.012608 | 114.5865 | 1285.6171 | 170.8906 | 0.60727 | 1.8084 | 0.41365 | 1.2145 | Flagged Warnings: | 1388.9257 | 0.0061852 | 201.0095 | 1388.9257 | 270.9986 | 0.52113 | 0 | 1.6844 | 0.54959 | 1.0423 | Flagged Warnings: |  |  |  | 1410.2675 | 35.3395 | 0.79806 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:20:42 PM | 51642 | [5 empty] | 51642 | 0.99755 | 0.99754 | 0.99756
21 | KS23_108_FID_100X_rep2 | 0.13002 | 0.0051133 | 0.0033686 | 0.0038469 | 103.0784 | 0.0085014 | 0.00080833 | 0.0084836 | 20.003 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13002 | 0.0051133 | 0.13321 | 0.0041616 | -0.046129 | 0.0064318 | SupCrit | 103.3318 | 0.0084836 | 1285.6077 | 0.0076766 | 208.3792 | 1285.6077 | 316.0921 | 0.62157 | 1.8365 | 0.39603 | 1.2431 | Flagged Warnings: | 1388.9396 | 0.0036115 | 377.6926 | 1388.9395 | 497.9585 | 0.52554 | 0 | 2.0967 | 0.46972 | 1.0511 | Flagged Warnings: | 1265.4646 | 28.2301 | 0.72784 | 1410.2071 | 48.4563 | 0.8317 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:25:23 PM | 51923 | [5 empty] | 51923 | 0.99755 | 0.99754 | 0.99756
22 | KS23_109_FIA_50X | 0.10073 | 0.0040573 | 0.0014075 | 0.0038054 | 103.0045 | 0.0035521 | 0.00080837 | 0.0034674 | 12.028 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10073 | 0.0040573 | 0.10366 | 0.0027798 | -0.10014 | 0.0032532 | SupCrit | 103.2579 | 0.0034674 | 1285.7439 | 0.0030152 | 575.9129 | 1285.7439 | 832.896 | 0.56862 | 2.2652 | 0.50572 | 1.1372 | Flagged Warnings: | 1389.0019 | 0.0017122 | 953.2256 | 1389.0018 | 1233.4963 | 0.49825 | 0 | 2.2749 | 0.55946 | 0.99649 | Flagged Warnings: | 1265.4722 | 90.9462 | 0.62703 | 1410.3672 | 162.0891 | 0.60705 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:37:24 PM | 52644 | [5 empty] | 52644 | 0.99755 | 0.99754 | 0.99755
23 | KS23_109_FIB_100X | 0.11418 | 0.0049484 | 0.0031467 | 0.0038191 | 103.0384 | 0.0079414 | 0.00080927 | 0.0079195 | 12.026 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11418 | 0.0049484 | 0.1172 | 0.003972 | -0.075199 | 0.0061149 | SupCrit | 103.2921 | 0.0079195 | 1285.6876 | 0.0072024 | 193.6038 | 1285.6876 | 286.4099 | 0.56839 | 1.4516 | 0.56495 | 1.1368 | Flagged Warnings: | 1388.9797 | 0.003293 | 324.3027 | 1388.9797 | 419.6771 | 0.50607 | 0 | 1.4381 | 0.51965 | 1.0121 | Flagged Warnings: | 1265.4272 | 29.1849 | 0.70779 | 1410.341 | 46.2056 | 0.63693 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:47:00 PM | 53220 | [5 empty] | 53220 | 0.99754 | 0.99754 | 0.99755
24 | KS23_109_FIC_50X | 0.11027 | 0.0039889 | 0.0011679 | 0.0038141 | 103.0285 | 0.0029474 | 0.0008096 | 0.002841 | 12.03 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11027 | 0.0039889 | 0.11325 | 0.0026637 | -0.082431 | 0.0028883 | SupCrit | 103.2822 | 0.002841 | 1285.6797 | 0.0024751 | 988.5185 | 1285.6797 | 1495.1941 | 0.58284 | 3.3141 | 0.55754 | 1.1657 | Flagged Warnings: | 1388.962 | 0.0013947 | 1699.8963 | 1388.962 | 2223.9583 | 0.51476 | 0 | 3.4303 | 0.50385 | 1.0295 | Flagged Warnings: | 1265.4326 | 170.6248 | 0.82708 | 1410.3316 | 279.9792 | 0.69884 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:52:27 PM | 53547 | [5 empty] | 53547 | 0.99754 | 0.99754 | 0.99755
25 | KS23_109_FID_50X | 0.12395 | 0.0039937 | 0.0011156 | 0.0038348 | 103.0631 | 0.0028155 | 0.00081063 | 0.0027029 | 12.047 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12395 | 0.0039937 | 0.12706 | 0.0026386 | -0.057239 | 0.0027935 | SupCrit | 103.317 | 0.0027029 | 1285.6258 | 0.0023596 | 886.8657 | 1285.6259 | 1327.3438 | 0.58021 | 2.649 | 0.54211 | 1.1604 | Flagged Warnings: | 1388.9429 | 0.0013184 | 1492.8116 | 1388.9429 | 1964.0072 | 0.51334 | 0 | 2.7381 | 0.52545 | 1.0267 | Flagged Warnings: | 1265.4058 | 134.3956 | 0.69997 | 1410.3411 | 212.8662 | 0.66427 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:01:31 PM | 54091 | [5 empty] | 54091 | 0.99754 | 0.99753 | 0.99755
26 | KS23_110_FIA_50X | 0.14325 | 0.0055547 | 0.0039751 | 0.0038798 | 103.1118 | 0.010032 | 0.00081182 | 0.010024 | 12.057 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14325 | 0.0055547 | 0.14663 | 0.0046891 | -0.02211 | 0.0074241 | SupCrit | 103.3659 | 0.010024 | 1285.4851 | 0.0091874 | 202.3005 | 1285.4851 | 336.9944 | 0.61953 | 2.0471 | 0.64612 | 1.2391 | Flagged Warnings: | 1388.8511 | 0.0040085 | 361.2174 | 1388.851 | 528.6427 | 0.5434 | 0 | 1.9815 | 0.65027 | 1.0868 | Flagged Warnings: | 1265.3784 | 30.007 | 0.42213 | 1410.3681 | 71.5705 | 0.80281 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:09:56 PM | 54596 | [5 empty] | 54596 | 0.99754 | 0.99753 | 0.99755
27 | KS23_110_FIB_100X | 0.19057 | 0.003522 | 0.0026064 | 0.0023689 | 103.2202 | 0.0063876 | 0.00081345 | 0.0063512 | 12.024 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.1862 | 0.0047702 | 0.19057 | 0.003522 | 0.054213 | 0.0047962 | SupCrit | 103.4747 | 0.0063512 | 1285.2165 | 0.0057601 | 345.1062 | 1285.2165 | 684.0983 | 0.74256 | 2.5371 | 0.62902 | 1.4851 | Flagged Warnings: | 1388.6912 | 0.0026756 | 657.2879 | 1388.6912 | 1044.635 | 0.59526 | 0 | 2.6126 | 0.62889 | 1.1905 | Flagged Warnings: | 1264.9254 | 93.293 | 1.4971 | 1410.1041 | 122.9904 | 0.84802 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '2s'] | 3:17:22 PM | 55042 | [5 empty] | 55042 | 0.99754 | 0.99753 | 0.99755
28 | KS23_111_FIA_50X | 0.073913 | 0.0042408 | 0.0018708 | 0.0038058 | 102.9368 | 0.0047213 | 0.000813 | 0.0046623 | 11.989 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.073913 | 0.0042408 | 0.07678 | 0.0030438 | -0.15063 | 0.0040537 | SupCrit | 103.1907 | 0.0046623 | 1285.9443 | 0.0040072 | 587.2479 | 1285.9443 | 744.1729 | 0.53073 | 3.5949 | 0.33621 | 1.0615 | Flagged Warnings: | 1389.135 | 0.0023831 | 1022.9811 | 1389.135 | 1186.1998 | 0.47157 | 0 | 3.1332 | 0.41644 | 0.94313 | Flagged Warnings: | 1265.6027 | 51.3254 | 0.76483 | 1410.52 | 134.8526 | 0.60056 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:32:17 PM | 55937 | [5 empty] | 55937 | 0.99754 | 0.99753 | 0.99755
29 | KS23_309_FIA_50X_rep1 | 0.036239 | 0.0062132 | 0.0048619 | 0.0038685 | 102.8417 | 0.01227 | 0.00081364 | 0.012273 | 12.023 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.036239 | 0.0062132 | 0.039271 | 0.0053956 | -0.2232 | 0.0096945 | SupCrit | 103.0955 | 0.012273 | 1286.1907 | 0.010396 | 137.0041 | 1286.1908 | 155.9405 | 0.45828 | 1.5761 | 0.44323 | 0.91656 | Flagged Warnings: | 1389.2863 | 0.0065236 | 222.9817 | 1389.2862 | 228.6544 | 0.42443 | 0 | 1.371 | 0.36872 | 0.84887 | Flagged Warnings: | 1265.7542 | 18.14 | 0.48672 | 1410.5515 | 28.8396 | 0.42688 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:42:36 PM | 56556 | [5 empty] | 56556 | 0.99754 | 0.99753 | 0.99755
30 | KS23_309_FIA_50X_rep2 | 0.039329 | 0.0047329 | 0.0027378 | 0.0038606 | 102.8495 | 0.0069094 | 0.0008144 | 0.0068781 | 19.944 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.039329 | 0.0047329 | 0.042338 | 0.0036361 | -0.21717 | 0.0056873 | SupCrit | 103.1033 | 0.0068781 | 1286.1975 | 0.006054 | 243.3144 | 1286.1975 | 273.7473 | 0.45945 | 1.7683 | 0.40519 | 0.91889 | Flagged Warnings: | 1389.3008 | 0.0032647 | 390.9887 | 1389.3008 | 414.0577 | 0.43191 | 0 | 1.941 | 0.40875 | 0.86381 | Flagged Warnings: | 1265.8316 | 20.7076 | 0.42344 | 1410.5572 | 56.4818 | 0.33209 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:47:25 PM | 56845 | [5 empty] | 56845 | 0.99754 | 0.99753 | 0.99755
31 | KS23_311_FIA_50X | 0.10902 | 0.0040047 | 0.0012251 | 0.0038127 | 103.0254 | 0.0030917 | 0.00081853 | 0.0029888 | 19.995 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10902 | 0.0040047 | 0.11199 | 0.0026898 | -0.084747 | 0.0029706 | SupCrit | 103.2797 | 0.0029888 | 1285.682 | 0.0024971 | 828.4395 | 1285.682 | 1252.0901 | 0.59139 | 2.5659 | 0.51818 | 1.1828 | Flagged Warnings: | 1388.9617 | 0.0016424 | 1384.0562 | 1388.9617 | 1804.5086 | 0.50886 | 0 | 3.2282 | 0.52471 | 1.0177 | Flagged Warnings: | 1265.4314 | 140.6826 | 0.81274 | 1410.3525 | 214.8624 | 0.67404 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:04:39 PM | 57879 | 1150.9761 | 102.4994 | 56.2097 | Spline | 0.033534 | 57879 | 0.99754 | 0.99753 | 0.99755
32 | KS23_311_FIB_50X | 0.13204 | 0.012914 | 0.012326 | 0.0038514 | 103.0835 | 0.031107 | 0.00082037 | 0.031173 | 39.944 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13204 | 0.012914 | 0.13525 | 0.012715 | -0.042445 | 0.022532 | SupCrit | 103.3379 | 0.031173 | 1285.5391 | 0.028532 | 62.3211 | 1285.5391 | 100.3244 | 0.69742 | 1.9065 | 0.24098 | 1.3948 | Flagged Warnings: | 1388.8771 | 0.012558 | 119.8171 | 1388.877 | 170.2581 | 0.55427 | 0 | 2.1285 | 0.52629 | 1.1085 | Flagged Warnings: | 1265.6795 | 8.6034 | 0.43305 | 1410.0297 | 19.2763 | 0.60698 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:12:36 PM | 58356 | 1150.7106 | 74.0212 | 38.7816 | Spline | 0.27356 | 58356 | 0.99754 | 0.99753 | 0.99755
33 | KS23_311_FIC_50X | 0.12629 | 0.0077142 | 0.006691 | 0.0038392 | 103.069 | 0.016886 | 0.00082106 | 0.016908 | 39.945 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12629 | 0.0077142 | 0.12943 | 0.0071772 | -0.052953 | 0.012387 | SupCrit | 103.3234 | 0.016908 | 1285.5783 | 0.015439 | 118.3719 | 1285.5783 | 180.4797 | 0.56895 | 2.1821 | 0.63775 | 1.1379 | Flagged Warnings: | 1388.9017 | 0.0068923 | 215.4515 | 1388.9016 | 298.7754 | 0.53151 | 0 | 1.8378 | 0.5711 | 1.063 | Flagged Warnings: | 1265.1428 | 10.5947 | 0.53851 | 1410.4066 | 37.7393 | 0.70817 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:16:59 PM | 58619 | 1150.7696 | 84.3588 | 59.2049 | Spline | 0.17602 | 58619 | 0.99754 | 0.99753 | 0.99755
34 | KS23_311_FID_50X | 0.092642 | 0.013544 | 0.012999 | 0.0038016 | 102.9841 | 0.032806 | 0.00082244 | 0.032877 | 12.008 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.092642 | 0.013544 | 0.095533 | 0.013261 | -0.11527 | 0.024452 | SupCrit | 103.2382 | 0.032877 | 1285.8046 | 0.0089041 | 167.4883 | 1285.8046 | 229.0073 | 0.53097 | 2.0671 | 0.53765 | 1.0619 | Flagged Warnings: | 1389.0429 | 0.031648 | 287.7459 | 1389.0429 | 352.6444 | 0.48679 | 0 | 4.3579 | 0.47895 | 0.97357 | Flagged Warnings: | 1265.4631 | 24.025 | 0.42277 | 1410.4171 | 30.3607 | 0.66927 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:27:45 PM | 59265 | [5 empty] | 59265 | 0.99754 | 0.99753 | 0.99755
35 | KS23_112_FIA_50X | 0.13179 | 0.0046889 | 0.0026751 | 0.0038508 | 103.0829 | 0.0067513 | 0.00082443 | 0.0067173 | 12.013 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13179 | 0.0046889 | 0.135 | 0.0036091 | -0.0429 | 0.00523 | SupCrit | 103.3373 | 0.0067173 | 1285.535 | 0.0058499 | 1936.9312 | 1285.535 | 3216.0967 | 0.61356 | 14.571 | 0.66196 | 1.2271 | Flagged Warnings: | 1388.8723 | 0.0033017 | 3347.6279 | 1388.8723 | 4503.0099 | 0.54147 | 0 | 16.2475 | 0.44393 | 1.0829 | Flagged Warnings: | 1265.3557 | 289.0213 | 0.70298 | 1410.1638 | 572.8499 | 0.80227 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:33:45 PM | 59625 | 1150.7991 | 854.3996 | 595.9017 | Spline | 0.11069 | 59625 | 0.99754 | 0.99753 | 0.99755
36 | KS23_106_FIA | 0.10497 | 0.0040558 | 0.001394 | 0.0038087 | 103.0152 | 0.003518 | 0.00082637 | 0.003428 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10497 | 0.0040558 | 0.10792 | 0.0027724 | -0.092259 | 0.0032243 | SupCrit | 103.2693 | 0.003428 | 1285.7042 | 0.0030102 | 1829.5277 | 1285.7043 | 2847.9318 | 0.59229 | 8.5906 | 0.58951 | 1.1846 | Flagged Warnings: | 1388.9737 | 0.0016402 | 3186.9679 | 1388.9736 | 4197.8163 | 0.51615 | 0 | 7.3352 | 0.51439 | 1.0323 | Flagged Warnings: | 1265.4623 | 298.1452 | 0.7502 | 1410.3526 | 480.1482 | 0.62012 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:45:27 PM | 60327 | 1150.8581 | 1151.9574 | 712.141 | Spline | 0.1635 | 60327 | 0.99754 | 0.99753 | 0.99755
37 | KS23_310_FIA_100X | 0.095965 | 0.0058153 | 0.0043997 | 0.0038028 | 102.9924 | 0.011104 | 0.00082863 | 0.0111 | 19.98 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095965 | 0.0058153 | 0.098868 | 0.0050249 | -0.10905 | 0.0084528 | SupCrit | 103.2465 | 0.0111 | 1285.8041 | 0.0098879 | 146.1728 | 1285.8042 | 199.9831 | 0.53936 | 1.6962 | 0.49858 | 1.0787 | Flagged Warnings: | 1389.0507 | 0.0050435 | 245.1366 | 1389.0507 | 309.0197 | 0.49965 | 0 | 1.5605 | 0.48468 | 0.9993 | Flagged Warnings: | 1265.6721 | 12.0224 | 0.42241 | 1410.4657 | 41.7761 | 0.57166 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:56:18 PM | 60978 | [5 empty] | 60978 | 0.99754 | 0.99753 | 0.99755
38 | KS23_310_FIB_100X | 0.10649 | 0.0091912 | 0.0083642 | 0.0038101 | 103.019 | 0.021109 | 0.00083066 | 0.021145 | 20.003 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10649 | 0.0091912 | 0.10945 | 0.0087528 | -0.089439 | 0.015645 | SupCrit | 103.2731 | 0.021145 | 1285.7487 | 0.018861 | 76.0417 | 1285.7487 | 101.4499 | 0.54508 | 1.9199 | 0.40158 | 1.0902 | Flagged Warnings: | 1389.0218 | 0.0095585 | 124.1727 | 1389.0217 | 153.5699 | 0.49088 | 0 | 1.4183 | 0.48097 | 0.98176 | Flagged Warnings: |  |  |  | 1410.3624 | 17.0831 | 0.42929 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:03:58 PM | 61438 | [5 empty] | 61438 | 0.99754 | 0.99753 | 0.99755
39 | KS23_309_FIB_50X_rep1 | 0.11075 | 0.0038868 | 0.00074497 | 0.0038147 | 103.0298 | 0.0018801 | 0.00083297 | 0.0016896 | 20.041 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11075 | 0.0038868 | 0.11375 | 0.0025046 | -0.081529 | 0.0023594 | SupCrit | 103.2838 | 0.0016896 | 1285.6901 | 0.0013928 | 1844.0857 | 1285.6902 | 2794.5208 | 0.56566 | 3.7369 | 0.6372 | 1.1313 | Flagged Warnings: | 1388.974 | 0.00095661 | 3132.5233 | 1388.974 | 4128.6136 | 0.51155 | 0 | 4.1829 | 0.53899 | 1.0231 | Flagged Warnings: | 1265.4491 | 316.4246 | 0.77594 | 1410.3141 | 486.3085 | 0.67659 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:13:00 PM | 61980 | 1150.8876 | 641.8835 | 385.8752 | Spline | 0.092716 | 61980 | 0.99754 | 0.99753 | 0.99755
40 | KS23_309_FIB_50X_rep2 | 0.10646 | 0.0039246 | 0.00094125 | 0.0038101 | 103.0189 | 0.0023755 | 0.00083393 | 0.0022298 | 12.001 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10646 | 0.0039246 | 0.10942 | 0.0025718 | -0.089491 | 0.0025949 | SupCrit | 103.2729 | 0.0022298 | 1285.6981 | 0.0019048 | 1194.7683 | 1285.6981 | 1821.2076 | 0.57719 | 3.0037 | 0.60171 | 1.1544 | Flagged Warnings: | 1388.9711 | 0.0011592 | 2040.8964 | 1388.971 | 2691.6637 | 0.51299 | 0 | 3.4075 | 0.5335 | 1.026 | Flagged Warnings: | 1265.4855 | 207.091 | 0.75626 | 1410.3184 | 308.3892 | 0.65616 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:17:07 PM | 62227 | 1150.8876 | 416.5106 | 253.6484 | Spline | 0.092294 | 62227 | 0.99754 | 0.99753 | 0.99755
41 | KS23_105_FIA_50X | 0.12203 | 0.014315 | 0.013792 | 0.0038313 | 103.0582 | 0.034808 | 0.0008371 | 0.034884 | 19.968 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12203 | 0.014315 | 0.12512 | 0.014142 | -0.06075 | 0.025383 | SupCrit | 103.3121 | 0.034884 | 1285.6397 | 0.031111 | 179.5433 | 1285.6398 | 330.1247 | 0.5948 | 6.1356 | 0.96584 | 1.1896 | Flagged Warnings: | 1388.9519 | 0.01578 | 306.0663 | 1388.9519 | 400.1114 | 0.51639 | 0 | 6.0593 | 0.49341 | 1.0328 | Flagged Warnings: | 1265.696 | 16.2277 | 0.42237 | 1410.1419 | 27.3798 | 0.50094 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:27:58 PM | 62878 | 1150.8581 | 45.8708 | 37.3598 | Spline | 0.062816 | 62878 | 0.99754 | 0.99753 | 0.99755
42 | KS23_318_FIA_50X | 0.091195 | 0.0071048 | 0.0060023 | 0.0038013 | 102.9804 | 0.015148 | 0.00083969 | 0.015162 | 19.958 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.091195 | 0.0071048 | 0.094082 | 0.0064798 | -0.11798 | 0.011431 | SupCrit | 103.234 | 0.015162 | 1285.788 | 0.013111 | 401.6958 | 1285.788 | 592.8533 | 0.5056 | 6.4448 | 0.83985 | 1.0112 | Flagged Warnings: | 1389.022 | 0.0076147 | 598.1577 | 1389.022 | 737.6119 | 0.51971 | 0 | 5.9205 | 0.3188 | 1.0394 | Flagged Warnings: | 1265.7027 | 52.2271 | 0.5525 | 1410.3425 | 83.6657 | 1.0182 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:39:39 PM | 63579 | 1150.7696 | 29.7386 | 30.9896 | Spline | 0.022352 | 63579 | 0.99754 | 0.99754 | 0.99755
43 | KS23_312_FIA_50X | 0.05539 | 0.004654 | 0.0026474 | 0.0038277 | 102.89 | 0.0066813 | 0.00084144 | 0.0066444 | 12.017 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.05539 | 0.004654 | 0.058305 | 0.0035708 | -0.18607 | 0.0054633 | SupCrit | 103.1433 | 0.0066444 | 1286.0916 | 0.0057111 | 374.9568 | 1286.0917 | 436.0776 | 0.46878 | 2.7138 | 0.44015 | 0.93756 | Flagged Warnings: | 1389.235 | 0.0033958 | 592.1596 | 1389.2349 | 651.8908 | 0.45318 | 0 | 2.3895 | 0.38356 | 0.90635 | Flagged Warnings: | 1265.8034 | 34.1784 | 0.658 | 1410.5954 | 61.5375 | 0.49965 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:48:18 PM | 64098 | [5 empty] | 64098 | 0.99754 | 0.99754 | 0.99755
44 | KS23_312_FIB_50X | 0.062405 | 0.0040457 | 0.0013399 | 0.0038174 | 102.9077 | 0.0033816 | 0.00084288 | 0.0032829 | 12.023 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.062405 | 0.0040457 | 0.065293 | 0.0027522 | -0.17259 | 0.0032283 | SupCrit | 103.1609 | 0.0032829 | 1286.0495 | 0.0028088 | 666.7744 | 1286.0495 | 814.6275 | 0.48779 | 2.4958 | 0.46543 | 0.97558 | Flagged Warnings: | 1389.2105 | 0.0016994 | 1084.8071 | 1389.2104 | 1205.7966 | 0.45229 | 0 | 2.3739 | 0.41497 | 0.90457 | Flagged Warnings: | 1265.7699 | 78.9881 | 0.61735 | 1410.5662 | 142.403 | 0.39917 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:52:43 PM | 64363 | 1151.212 | 55.5774 | 33.9226 | Spline | 0.027508 | 64363 | 0.99755 | 0.99754 | 0.99755
45 | KS23_312_FIC_50X | 0.10109 | 0.003993 | 0.0012089 | 0.0038056 | 103.0054 | 0.003051 | 0.00084501 | 0.0029389 | 12.028 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10109 | 0.003993 | 0.10401 | 0.0026836 | -0.099482 | 0.0029621 | SupCrit | 103.2587 | 0.0029389 | 1285.7748 | 0.0025457 | 859.6379 | 1285.7749 | 1206.1308 | 0.54526 | 2.9562 | 0.53576 | 1.0905 | Flagged Warnings: | 1389.0337 | 0.0014684 | 1449.3285 | 1389.0336 | 1836.0896 | 0.50727 | 0 | 2.8164 | 0.45789 | 1.0145 | Flagged Warnings: | 1265.5181 | 109.2544 | 0.66899 | 1410.3928 | 210.6678 | 0.68557 | [9 empty] | September 21, 2023 | September | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:57:09 PM | 64629 | [5 empty] | 64629 | 0.99755 | 0.99754 | 0.99755